## sam_configs
system_name | parameter | value | units | description
system_1 | array_type |  | code | Solar Array Type Code (0=fixed rack, 1=fixed roof, 2=one-axis, 3=bactracked, 4=two-axis)
system_1 | module_type |  | code | Module Type Code (0=standard, 1=premium, 2=thin film)
system_1 | azimuth |  | degrees | Azimuth Angle (0=north, 90=east, 180=south, 270=west)
system_1 | tilt |  | degrees | Tilt Angle (0=horizontal, 90=vertical, latitude=latitude)
system_1 | dc_ac_ratio |  | ratio | DC/AC Ratio
system_1 | gcr |  | ratio | Ground Cover Ratio
system_1 | inv_eff |  | percent | Inverter Efficiency
system_1 | losses |  | percent | Losses
system_1 | system_capacity |  | kW | System Capacity
system_1 | capital_cost |  | dollars | Capital Costs
system_1 | fixed_operating_costs |  | dollars | Fixed Operating Cost
system_1 | fixed_charge_rate |  | ratio | Fixed Charge Rate
system_1 | variable_operating_cost |  |  | Variable Operating Cost
system_1 | clearsky |  | boolean | Use Clearsky Data Sets
system_1 | compute_module |  | string | The SAM module. (pvwattsv5, pvwattsv7, windpower, tcsmolten_salt, etc.)
system_2 | system_capacity |  | MW | System Capacity (In SAM, it is in kW)
system_2 | capital_cost |  | dollars | Capital Costs
system_2 | fixed_operating_costs |  | dollars | Fixed Operating Cost
system_2 | fixed_charge_rate |  | ratio | Fixed Charge Rate
system_2 | variable_operating_cost |  |  | Variable Operating Cost
system_2
system_2
system_2
system_2
system_2
system_2
system_2
system_2
system_2
system_2
system_2
system_2

## power_curves
wind_speed | system_2 | system_3
0 | 0 | 0
0.25 | 0 | 0
0.5 | 0 | 0
0.75 | 0 | 0
1 | 0 | 0
1.25 | 0 | 0
1.5 | 0 | 0
1.75 | 0 | 0
2 | 0 | 0
2.25 | 0 | 0
2.5 | 0 | 0
2.75 | 0 | 0
3 | 0 | 0
3.25 | 55 | 94
3.5 | 78 | 132
3.75 | 104 | 175
4 | 133 | 225
4.25 | 167 | 281
4.5 | 204 | 344
4.75 | 246 | 415
5 | 293 | 494
5.25 | 345 | 581
5.5 | 402 | 676
5.75 | 464 | 781
6 | 532 | 895
6.25 | 606 | 1019
6.5 | 686 | 1153
6.75 | 772 | 1298
7 | 865 | 1455
7.25 | 965 | 1623
7.5 | 1072 | 1802
7.75 | 1186 | 1995
8 | 1308 | 2200
8.25 | 1438 | 2418
8.5 | 1576 | 2650
8.75 | 1723 | 2896
9 | 1878 | 3156
9.25 | 2042 | 3431
9.5 | 2215 | 3722
9.75 | 2397 | 4000
10 | 2430 | 4000
10.25 | 2430 | 4000
10.5 | 2430 | 4000
10.75 | 2430 | 4000
11 | 2430 | 4000
11.25 | 2430 | 4000
11.5 | 2430 | 4000
11.75 | 2430 | 4000
12 | 2430 | 4000
12.25 | 2430 | 4000
12.5 | 2430 | 4000
12.75 | 2430 | 4000
13 | 2430 | 4000
13.25 | 2430 | 4000
13.5 | 2430 | 4000
13.75 | 2430 | 4000
14 | 2430 | 4000
14.25 | 2430 | 4000
14.5 | 2430 | 4000
14.75 | 2430 | 4000
15 | 2430 | 4000
15.25 | 2430 | 4000
15.5 | 2430 | 4000
15.75 | 2430 | 4000
16 | 2430 | 4000
16.25 | 2430 | 4000
16.5 | 2430 | 4000
16.75 | 2430 | 4000
17 | 2430 | 4000
17.25 | 2430 | 4000
17.5 | 2430 | 4000
17.75 | 2430 | 4000
18 | 2430 | 4000
18.25 | 2430 | 4000
18.5 | 2430 | 4000
18.75 | 2430 | 4000
19 | 2430 | 4000
19.25 | 2430 | 4000
19.5 | 2430 | 4000
19.75 | 2430 | 4000
20 | 2430 | 4000
20.25 | 2430 | 4000
20.5 | 2430 | 4000
20.75 | 2430 | 4000
21 | 2430 | 4000
21.25 | 2430 | 4000
21.5 | 2430 | 4000
21.75 | 2430 | 4000
22 | 2430 | 4000
22.25 | 2430 | 4000
22.5 | 2430 | 4000
22.75 | 2430 | 4000
23 | 2430 | 4000
23.25 | 2430 | 4000
23.5 | 2430 | 4000
23.75 | 2430 | 4000
24 | 2430 | 4000
24.25 | 2430 | 4000
24.5 | 2430 | 4000
24.75 | 2430 | 4000
25 | 0 | 0

## exclusion_files
exclusion_name | path | exclude_values | description
sample_exclusion_1 | /path/to/sample_exclusion_1.tif | 1 | Description of exclusion file #1.
sample_exclusion_2 | /path/to/sample_exclusion_2.tif | 1 | Description of exclusion file #2.
sample_exclusion_3 | /path/to/sample_exclusion_3.tif | % | Description of exclusion file #3.

## characterizations
characterization_name | path | method | description
sample_characterization_1 | /path/to/sample_characterization_1.tif | mean | Description of categorization file #1.
sample_characterization_2 | /path/to/sample_characterization_2.tif | category | Description of categorization file #2.
sample_characterization_3 | /path/to/sample_characterization_3.tif | sum | Description of categorization file #3.

## scenarios
scenario_name | system_name | exclusion_name
scenario_1 | system_1 | sample_exclusion1
scenario_1 | system_1 | sample_exclusion2
scenario_1 | system_1 | sample_exclusion3
scenario_2 | system_2 | sample_exclusion1
scenario_2 | system_2 | sample_exclusion2
scenario_2 | system_2 | sample_exclusion3
scenario_2 | system_2 | sample_exclusion4

## instructions
Instructions:
This sheet allows the user to configure reV to run multiple System Advisor Models with different sets of spatial exclusions, and in different combinations (scenarios).
Tab #1: Sam Configurations
This tab will be used to generation configurations for the System Advisor Model.
system_name - User-defined system name.
compute_module - The compute module associated with the desired technology model.
parameter - The name of a compute module parameter.
value - The desired value of the parameter.
units - The units associated with the parameter (optional).
description - A description of the parameter (optional).
Tab #2: Exclusion Files
This tab will be used to associate exclusion GeoTiff files with names and values. The name associated with each exclusion value will be used in the scenario tabs. Values can either be provided as a comma separated list of values in the data set to exclude, or as the "%" symbol to use the values in the data set as percent-exclusions (i.e. 0.50 = 50% excluded)
Tab #3: Characterization Files
This tab will be used to associate characterization GeoTiff files with names and values. Characterizations are used in the aggregation step to summarize some spatial dataset with the resulting aggregated area or "wind farm". The name associated with each characterization value will be used in the scenario tabs. The summarization method describes the function applied to the set of values within each wind farm to get the summary and currenty supports these option:
"sum" = Sum of all values.
"mean" = Mean of all values.
"category" = A json dictionary of value, count pairs.